## 1. General Information
25 Willcocks St. Toronto, ON M5S3B2 Canada
SAMPLE SUBMISSION GUIDELINES FOR ILLUMINA SEQUENCING
Thank you for using CAGEF's Illumina sequencing service. The information below will help ensure that your samples meet the strict quality requirements necessary for Illumina sequencing. We will perform QC on all samples prior to both sample preparation and sequencing and notify you if we have concerns.
Sample Submission Information:
1 | Sample Quantity & Concentration: 8ug total of DNA (or total RNA) is required to ensure adequate material for sample preparation at a minimum concentration of 0.1ug/ul. 5ug is required for the actual sample prep, while the additional is used for QC and test shearing. Samples can be quantify by Nanodrap, Qubit, qPCR, PicoGreen spectrofluorometry, or Agilent Bioanalyzer.
2 | Sample Quality: Spectrophotometer OD readings are required for every sample confirming an OD 260/280 between 1.8 and 2.0.
3 | Sample Integrity: Provide an agarose gel photo showing quality of DNA sample, indicating how many microliters of sample are loaded on the gel and the size ladder. Alternatively, you can send us results from an Agilent Bioanalyzer. Gel photos can be copied into a new worksheet in this file when submitting sample data or sent along with the samples themselves.
4 | Sample Data: Please fill out the contact information worksheet and sample worksheet in this file as completely as possible. Any questions can by addressed to Dr. Sylva Donaldson (sylva.donaldson@utoronto.ca)
5 | Sample Resuspension: DNA should be resuspended in 1X TE, pH8, (10mM Tris-HCl, 1mM EDTA) in 1.5ml microcentrifuge tubes. RNA should be resuspended in DEPC ddH2O in 1.5ml microcentrifuge tubes.
6 | Sample Labeling: Ensure that all tubes are clearly labled with indelible ink and that the names match those provided in the sample sheet. Please make sure to indicate if and how the samples are to be barcoded and pooled. Barcoding should be specified on the sample sheet. Any set of samples that are to be pooled and run in the same channel should be given the same letter designation (e.g. 'A' for the 1st pool of samples, 'B' for the 2nd pool, etc.).
7 | Sample Submission Please mail your samples on dry ice to the address below.
Important Notes:
1 | We recommend running multiple concentrations for each sample to ensure optimal cluster generation. We cannot guarantee optimal data output if you elect to run only a single concentration.
2 | Illumina recommends running a control lane on each flowcell to assist in the data analysis. Again, we cannot guarantee optimal data output if you elect to not run this control.
3 | Please remember that University of Toronto CAGEF Member Laboratories receive discounted pricing under the stipulation that they include CAGEF as an author affiliation (in addition to their departmental affiliation) on any publication using data generated by CAGEF. This is critically important since these citations are our primary metric of contribution. If you have questions about this policy please address them to Dr. David Guttman (david.guttman@utoronto.ca)
CAGEF Members, please check the box to the right to acknowledge that you understand the authorship policy.
Mailing Address:
CAGEF, ATTN: Pauline Wang c/o Department of Cell & Systems Biology University of Toronto 25 Willcocks St., ESC room4039 Toronto, ON M5S 3B2 Canada

## 2. Contact Information
Customer Name
Position
Principle Investigator
Organization
Department
Address 1
Address 2
City
Province / State
Postal / Zip Code
Country
Phone Number 1
Phone Number 2
Email 1
Email 2
Billing Contact Name
Billing Contact Phone
Billing Contact Email
Quote Number
Quote Date
Fund Number

## 3a. Sample Sheet
Sample # | Sample Name / ID | Sample Description | Sample Type | Single or Paired-End Sequencing | Read Length | Volume (μl) | Concentration (nM) | Concentration Measure By | OD 260/280 | Gel Image Provided | Reference Genome | Notes
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96

## 3b. 96 Well Plate Sample Sheet
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Sample1 | Sample9
B | Sample2 | Sample10
C | Sample3 | Sample11
D | Sample4 | Sample12
E | Sample5 | …
F | Sample6
G | Sample7
H | Sample8

## (Internal Use 1)
Date Received
Received By
Sample Prep Start Date
Samply Prep By
Sequencing Start Date
Sequencing By
Sequencing Completion Date
Data Pipelining Completion Date
Notes

## (Internal Use 2)
DNA Sequencing
Mate-Pair Sequencing
RNA-Seq
Small RNA-Seq
CHiP-Seq
Amplicon
v4 16S rDNA microbiome
ITS mycobiome
Metagenomics
Metatranscriptomics
Other (specify in Notes)
50
75
150
250
300
500
600
Nanodrop
Qubit
Bioanalyzer
qPCR
Pico Green
Other
Single Read
Paired-End
yes
no
<1
1
2
3
4
5
6
7
8
√